APPENDIX A

PRICE SCHEDULE FOR ABSDs TO ENATS 41-36

| Voltage Rating (kV) | Current Rating (A) | UU Code | Estimated Annual Usage | Manufacturer’s Reference | Lead Time (weeks) | Unit Price (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 12 |  |  |  |  |  |  |  |
| 36 |  |  |  |  |  |  |  |

###### APPENDIX B

SCHEDULE OF MANUFACTURERS’ TECHNICAL PARTICULARS

| Item No | Description | Information provided by Supplier |
| --- | --- | --- |
|  |  | 12kV | 36kV |
| 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. 12. 13. 14. | ENA NoCC Number Place of Manufacture Type designation Rated voltage kV Rated frequency Hz Rated normal current A Rated short-circuit making current kA Rated short-time current for 3 seconds kA Rated Breaking Capacity (a) Mainly active load-breaking A (b) Closed loop A (c) Transformer Off-load A (d) Cable-charging A Lightning Impulse Withstand Voltage (a) To earth and between poles kVp (b) Across terminals of open switch- kVp disconnector Power Frequency Withstand Voltage kVrms Insulator material Minimum insulator creepage distance mm Steelwork included (yes/no) |  |  |

Appendix C

Confirmation of Compliance Schedule

C1	Compliance

Tenderer………………………………………………………….

In the Schedule below the Tenderer shall indicate whether the Air Break Switch Disconnector offered complies in full or not with the identified requirements by placing a tick in the “Yes” or the “No” column against each requirement.  Where compliance is indicated by placing a tick in the “Yes” column, the relevant Type test report number or reference to the evidence of compliance shall be inserted in the “Comments” field.  Where non-compliance is indicated by placing a tick in the “No” column, the “Comments” field shall be used to indicate the reason for a non-compliant offer.

C2	Schedule

| Spec. Para. | Brief Description | Full Compliance | Comments |
| --- | --- | --- | --- |
|  |  | Yes | No |  |
| 7.1 | Operating Temperature Range |  |  |  |
| 7.2 | Equipment Ratings |  |  |  |
| 7.3 | Cable and Line Charging Currents |  |  |  |
| 7.4 | Special Service Conditions |  |  |  |
| 7.5 | Class of Switch |  |  |  |
| 7.6 | Mechanisms |  |  |  |
| 7.7 | Insulators |  |  |  |
| 7.8 | Contacts |  |  |  |
| 7.9 | Leads |  |  |  |
| 7.10 | Connections |  |  |  |
| 7.11 | Nuts, Bolts & Studs |  |  |  |
| 7.12 | Mounting |  |  |  |
| 7.13 | Indication |  |  |  |
| 7.14 | Labelling |  |  |  |
| 7.15 | Drawings & Manuals |  |  |  |
| 7.16 | Testing |  |  |  |
| 7.17 | FMECA |  |  |  |
| 5.3 | Quality Assurance |  |  |  |
| 8 | Protection & Packaging |  |  |  |