[image: image1.png]«‘ SP Electricity
North West





Completion Certificate – Mains Jointing
Metered and Unmetered Electricity Service Installations

Section 1 – Checklist
	
	ICP

	An as laid drawing(s) has been prepared and is attached to the form using Electricity North West As Laid Drawing Form  (See Appendix F in ES 626 or ES 627)
	

	The person undertaking the associated tests and completing this certificate is duly authorised within the Quality Management System
	


Section 2 – Project Details
	Electricity North West Reference Number:

	ICP Reference Number:


	Location Details
	ICP

	Site Address:
	Company name:

	
	Contact name:

	
	Contact telephone number:

	
	

	
	Contact email:


Section 3 – Completion Certificate

Pre-energisation – commissioning test results
Note – minimum Insulation Resistance to be > or = 100 MΩ at 500V
	Cable Size
	Insulation Resistance (MΩ)
	Continuity Test

	
	L1 - N/E
	L1 - N/E
	L1 - N/E
	L1 -  L2
	L1 -  L3
	L2 – L3
	Yes/No

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


	I hereby confirm that electricity mains have been installed to the above noted development and energised on:-
Time:                                                                                Date:



	Signed:


	For and on behalf of (Company name):

	Print name:
	Job title:



	
	Date:




Appendix C


[image: image1.png]