Completion Certificate – Mains Jointing

Metered and Unmetered Electricity Service Installations

Section 1 – Checklist

|  | ICP |
| --- | --- |
| An as laid drawing(s) has been prepared and is attached to the form using Electricity North West As Laid Drawing Form (See Appendix F in ES 626 or ES 627) |  |
| The person undertaking the associated tests and completing this certificate is duly authorised within the Quality Management System |  |

Section 2 – Project Details

Electricity North West Reference Number:

ICP Reference Number:

| Location Details | ICP |
| --- | --- |
| Site Address: | Company name: |
|  | Contact name: |
|  | Contact telephone number: |
|  | Contact email: |

Section 3 – Completion Certificate

Pre-energisation – commissioning test results

Note – minimum Insulation Resistance to be > or = 100 MΩ at 500V

| Cable Size | Insulation Resistance (MΩ) |  |  |  |  |  | Continuity Test |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | L1 - N/E | L1 - N/E | L1 - N/E | L1 - L2 | L1 - L3 | L2 – L3 | Yes/No |

| I hereby confirm that electricity mains have been installed to the above noted development and energised on:- Time: Date: |  |
| --- | --- |
| Signed: | For and on behalf of (Company name): |
| Print name: | Job title: |
|  | Date: |