appendix a

Conductors for new or refurbished line construction:
specific requirements

A1	Plain Stranded Hard Drawn Copper conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, HDCu, 38mm2 (7/2.65) Conductor, HDCu, 70mm2 (7/3.55) Conductor, HDCu, 100mm2 (7/4.3) | BS 7884 BS 7884 BS 7884 | N/A N/A N/A |  | 013198 013196 013199 |  |

A2	plain Stranded Aluminium Alloy conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification* | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, AAAC, 50mm2 (Hazel) (7/3.3) Conductor, AAAC, 100mm2 (Oak) (7/4.65) Conductor, AAAC, 150mm2 (Ash) (19/3.48) Conductor, AAAC, 200mm2 (Poplar) (37/2.87) Conductor, AAAC, 300mm2 (Upas) (37/3.53) | BS EN 50182 BS EN 50182 BS EN 50182 BS EN 50182 BS EN 50182 | Cat 4 Cat 4 Cat 4 Cat 3 Cat 3 |  | 013684 013676 013688 013690 013920 |  |
| * Individual wires shall comply with the appropriate specification as listed under Technical Particulars. |  |  |  |  |  |

a3	aerial bundled conductors (Abc)

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, ABC, 2x35mm2 Conductor, ABC, 3x35mm2 Conductor, ABC, 4x35mm2 Conductor, ABC, 4x35mm2, double insulated Conductor, ABC, 5x35mm2 Conductor, ABC, 2x95mm2 Conductor, ABC, 3x95mm2 Conductor, ABC, 4x95mm2 Conductor, ABC, 5x95mm2 | ENA TS 43-13 ENA TS 43-13** ENA TS 43-13 ENA TS 43-13* ENA TS 43-13** ENA TS 43-13 ENA TS 43-13** ENA TS 43-13 ENA TS 43-13** | N/A N/A N/A N/A N/A N/A N/A N/A N/A |  | 012092 012105 012106 012107 012108 012122 012075 012076 012077 | 29/08/13 29/08/13 |
| * This conductor shall generally be as specified in ENA TS 43-13, but with double insulation. 29/08/13 ** The third and fifth cores of 3- and 5-core ABC, respectively, are insulated earth wires which shall be the same as the other four cores. ABC shall be ribbed as follows: 2- and 3-core: Phase – 1 rib; Neutral – fully ribbed; Earth (3rd core) – smooth (no ribbing). 4- and 5-core: L1 – 1 rib; L2 – 2 ribs; L3 – 3 ribs; Neutral – fully ribbed; Earth (5th core) – smooth (no ribbing). |  |  |  |  |  |

A4	Compacted Covered Conductors (AAAC)

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, Compacted Covered, 50mm2 Conductor, Compacted Covered, 120mm2 Conductor, Compacted Covered, 185mm2 | SS4241463 edition 4 SS4241463 edition 4 SS4241463 edition 4 | N/A N/A N/A |  | 011570 011572 493191 |  |

A5	Conductor, flexible Cu, covered

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, flexible, 65mm2, 307 Wires x 12 Spindles (3684/0.15) | N/A | N/A |  | 012130 |  |

A6	Conductor, PVC Insulated earth wire

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, HDCu, 70mm2 (green/yellow covered) | BS 6004 | N/A |  | 357243 |  |

This page is intentionally left blank

(for formatting during double sided printing)

29/08/13

Appendix B

Conductors for Refurbishment and repair only:
specific requirements

The conductors listed below are for refurbishment and repair only, therefore, the quantities ordered need to reflect this.

B1	plain Stranded Hard Drawn Copper conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, HDCu, 16mm2 (3/2.65) Conductor, HDCu, 32mm2 (3/3.75) | BS 7884 BS 7884 | N/A N/A |  | 013129 013145 |  |

B2	plain Stranded Aluminium Alloy conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification* | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, AAAC, 25mm2 (Almond) (7/2.34) | BS EN 50182 | Cat 4 |  | 013668 |  |
| Conductor, AAAC, 175mm2 (Elm) (19/3.76) | BS EN 50182 | Cat 4 |  | 013677 |  |
| * Individual wires shall comply with the appropriate specification as listed under Technical Particulars. |  |  |  |  |  |

B3	Stranded Aluminium (Steel reinforced)

| Approved Description (for purchasing and product labelling) | Conductor Specification* | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, ACSR, 75mm2 (Racoon) (6/4.10+1/4.10) Conductor, ACSR, 100mm2 (Dog) (6/4.72+7/1.57) Conductor, ACSR, 150mm2 (Wolf) (30/2.59+7/2.59) Conductor, ACSR, 150mm2 (Dingo) (18/3.35+1/3.35) Conductor, ACSR, 175mm2 (Caracal) (18/3.61+1/3.61) Conductor, ACSR, 175mm2 (Lynx) (30/2.79+7/2.79) | BS EN 50182 BS EN 50182 BS EN 50182 BS EN 50182 BS EN 50182 BS EN 50182 | Cat 3 Cat 3 Cat 3 Cat 3 Cat 3 Cat 3 |  | 013678 013862 013679 013890 013919 013927 |  |
| * Individual wires shall comply with the appropriate specification as listed under Technical Particulars. Steel strands shall be clad with aluminium. Aluminium clad steel wires are not permitted on the outer layer of the conductor. |  |  |  |  |  |

B4	plain Stranded Hard drawn Aluminium conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification* | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, HDAl, 50mm2 (7/3.10) Conductor, HDAl, 100mm2 (7/4.39) | BS EN 50182 BS EN 50182 | Cat 3 Cat 3 |  | 013560 013587 |  |
| * Individual wires shall comply with the appropriate specification as listed under Technical Particulars. |  |  |  |  |  |

b5	Type 8 Stranded Hard Drawn Copper Black PVC Covered Conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, PVC, HDCu, 32mm2 (7/2.46) | BS 6485 | Cat 1 |  | 011568 |  |

b6	Type 8 Stranded Hard Drawn Aluminium Black PVC Covered Conductors

| Approved Description (for purchasing and product labelling) | Conductor Specification | Conductor Greasing ENA ER L38 | Estimated Usage (metres) | CC Number | Price per 1000 metres |
| --- | --- | --- | --- | --- | --- |
| Conductor, PVC, HDAl, 50mm2 (7/3.10) | BS 6485 | Cat 1 |  | 012319 |  |

This page is intentionally left blank

(for formatting during double sided printing)

Appendix c

confirmation of compliance schedules

TENDERER………………..				TABLE 1

CONDUCTOR:

ELECTRICAL AND MECHANICAL TESTS (SPECIFY BS):

SAMPLE NO AND LOCATION:

|  | Aluminium / Copper |  |  |  |  |  | Steel Wire |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Stranded as Rec. | Dia Cleaned | Measured Resistance at 20 C | Breaking Load | Wrapping Test | Torsion Test (Twists) | Strand Dia. | Tensile Strength | Stress at 1% Elongation | Elongation 200 mm Gauge Length % | Wrapping Test |
| 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24 25 26 27 28 29 30 |  |  |  |  |  |  |  |  |  |  |  |

BS CRITERIA:		BS CRITERIA

Minimum specified diameter	:	Minimum specified diameter		:

Maximum specified resistance	:	Minimum tensile strength		:

Outer strands  (1-18)		Minimum stress at 1% elongation		:

Inner strands  (19-30)		Minimum elongation		:

Minimum specified breaking loads	:

TENDERER……………….		TABLE 2

CONDUCTOR DETAILS  (To be completed by tenderer for each conductor/size tendered for)

| Item Number |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Conductor Size |  |  |  |  |  |  |  |  |
| Conductor Stranding |  |  |  |  |  |  |  |  |
| Conductor Material |  |  |  |  |  |  |  |  |
| U.T.S. | (N) |  |  |  |  |  |  |  |
| Diameter | (mm) |  |  |  |  |  |  |  |
| Bare Weight | (Kg/m) |  |  |  |  |  |  |  |
| Greased Weight | (Kg/m) |  |  |  |  |  |  |  |
| Cross Sectional Area | (Sq.mm) |  |  |  |  |  |  |  |
| Modulus of Elasticity | (N/Sq.mm) |  |  |  |  |  |  |  |
| Coefficient of Linear Exp. | (deg C) |  |  |  |  |  |  |  |