appendix c - schedules

SCHEDULE A

MANUFACTURERS AND PLACES OF MANUFACTURE, TESTING AND INSPECTION

(Relevant details to be completed by Tenderer)

| Item | Manufacturer's Drawing Number and/or Type Designation | Manufacturer | Place of Manufacture | Place of Testing and/or Inspection |
| --- | --- | --- | --- | --- |
| Fusegear Assembly |  |  |  |  |
| Subcontracted material or components:- |  |  |  |  |

SCHEDULE B

Technical Details

(A separate schedule should be complete for each design of PENDA-TMO, PENDA-I and PENDA-CCO).

| Item |  | PENDA-I | PENDA-CCO | PENDA-TMO |
| --- | --- | --- | --- | --- |
| 1. | (a) Temperature rise test reference number and date |  |  |  |
|  | (b ) Maximum temperature rise recorded |  |  |  |
|  | Location of maximum temperature rise |  |  |  |
| 2. | (a ) Short circuit type test reference number and date |  |  |  |
|  | (b) Was this single or three phase? |  |  |  |
|  | (c) Configuration tested |  |  |  |
| 3. | Overall dimensions H mm |  |  |  |
|  | W mm |  |  |  |
|  | D mm |  |  |  |
| 4. | Thickness of metal enclosure mm |  |  |  |
| 5. | Thickness of flange mm |  |  |  |
| 6. | General arrangements drawing number (detailed to show plan view of cable centres, fixings, additional insulation details, anti-vandal measures of standard equipment). |  |  |  |
| 7. | General arrangement drawing number of proposed multi-section PENDA-I(Clause 6) |  |  |  |

SCHEDULE C

DRAWINGS

The following is a list of Drawings which shall be submitted by the Tenderer with the Tender:

| Description (General arrangement drawings of:-) | Tenderer's Drawing No. |
| --- | --- |
| PENDA-TMO |  |
| PENDA-I |  |
| PENDA-CCO |  |

SCHEDULE D

LIST OF SPECIAL TOOLS AND EQUIPMENT TO BE PROVIDED

(Relevant details to be completed by Tenderer)

| Equipment | Special Tools and Equipment |
| --- | --- |

Appendix D

SELF CERTIFICATION CONFORMANCE DECLARATION

CLAUSE BY CLAUSE CONFORMANCE WITH THIs ES

The manufacturer shall declare conformance or otherwise, clause by clause, using the following levels of conformance declaration codes.

Conformance declaration codes

| N/A = | Clause is not applicable/appropriate to the product/service |
| --- | --- |
| C1 = | The product/service conforms fully with the requirements of this clause |
| C2 = | The product/service conforms partially with the requirements of this clause |
| C3 = | The product/service does not conform to the requirements of this clause |
| C4 = | The product/service does not currently conform to the requirements of this clause, but the manufacturer proposes to modify and test the product in order to conform. |

| Manufacturer: |  |
| --- | --- |
| Product/Service Description |  |
| Product /Service Reference : |  |

Assessor

| Name | Company | Signature | Date |
| --- | --- | --- | --- |

| Clause/Sub-Clause |  | Requirement | Conformance Code | Remarks (Must be completed if Conformance Code is not C1) |
| --- | --- | --- | --- | --- |
| 3 | 1 | Product not to be changed |  |  |
| 3 | 2 | Electricity North West Technical Approval |  |  |
| 3 | 3 | Quality Assurance |  |  |
| 3 | 4 | Formulation |  |  |
| 3 | 5 | Identification Markings |  |  |
| 3 | 6 | Products Already Approved |  |  |
| 3 | 7 | Product Conformity |  |  |
| 4 | 1 | Requirement for Type Tests at the Supplier’s Premises |  |  |
| 4 | 2 | Requirement for Routine Tests at the Supplier’s Premises |  |  |
| 4 | 3 | Requirement for on site Tests |  |  |
| 5 | 1 | Compliance with Technical Specifications |  |  |
| 5 | 2 | Selection of Options |  |  |
| 5 | 3.1 | Incoming Transformer Units |  |  |
| 5 | 3.2 | Distributor Units |  |  |
| 5 | 3.3 | General Construction of PENDA-TMO |  |  |
| 5 | 3.4 | Current Transformers |  |  |
| 5 | 3.5 | Insulating Shrouds |  |  |
| 5 | 3.6 | Test Sockets |  |  |
| 5 | 3.7 | Connection of Mobile Generators |  |  |
| 5 | 3.8 | HV Steelwork Earth |  |  |
| 5 | 3.9 | Ancillary Equipment |  |  |
| 5 | 3.10 | Testing |  |  |
| 6 | 1 | Industrial Service Units |  |  |
| 6 | 2 | Special Indoor PENDA-I |  |  |
| 6 | 3 | PENDA-CCO |  |  |
| 6 | 4 | Intruder Resistance |  |  |
| 6 | 5 | Labelling |  |  |
| 7 |  | Tests |  |  |
| 8 |  | Drawings and Manuals |  |  |
| A1 |  | Cable Termination Methods |  |  |
| A2 | 1 | Distributor Ways |  |  |
| A2 | 2 | Transformer Ways |  |  |
| A2 | 3 | Termination Methods |  |  |
| B1 |  | Introduction |  |  |
| B2 |  | Standards |  |  |
| B3 |  | Alternative Requirements |  |  |
| B4 | 1 | General |  |  |
| B4 | 2 | Primary Current |  |  |
| B4 | 3 | Current Transformers |  |  |
| B4 | 4 | Metering Fuses |  |  |
| B5 |  | LV Cable |  |  |
| B6 |  | Sheath Bonding |  |  |
| B7 |  | Neutral Earthing |  |  |
| B8 |  | Emergency Trip Facility |  |  |
| Schedule A |  | Manufacturers and Places of Manufacture, Testing and Inspection |  |  |
| Schedule B |  | Technical Details |  |  |
| Schedule C |  | Drawings |  |  |
| Schedule D |  | List of Special Tools and Equipment to be provided |  |  |

Additional Notes: