Appendix a

Schedules

Schedule A – HV Fuse-Links for Use in Oil

Schedule B – Tag Type HV Fuse-Links for Use in Air

Schedule C – LV J Type Cylindrical Slotted Tag Fuse-Links

Schedule D – Domestic Service Termination Fuse-Links

Schedule E – HRC Fuse-Links for Street Lighting Services

Schedule F – Industrial 2 Hole Offset Tag Fuse-Links

Schedule G – Industrial 2 Hole Central Tag Fuse-Links

Schedule H – LV Central Tag Fuse-Links with 4 Hole Fixing

Schedule I – Industrial Compact Fuse-Links with Offset Blade Tag

Schedule J – HV Expulsion Fuse-Links

Schedule K – HV DIN Type Full Range Fuse-Links

Schedule L – Time Fuse-Links

Schedule M – Automatic Sectionalising Links

schedule a

hv Fuse-links for use in oil

(to BS EN 60282-1 and ENA TS 12-8)

| System Rating (kV) | Current Rating (A) | ENA TS 12-8 Rating Ref | Length (mm) | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 & 6.6 | 25 | O1 | 359 | 82694 |  |  |  |  |
| 11 & 6.6 | 36 | O2 | 359 | 83674 |  |  |  |  |
| 11 & 6.6 | 50 | O3 | 359 | 84182 |  |  |  |  |
| 11 & 6.6 | 80 | O4 | 359 | 85618 |  |  |  |  |
| 11 & 6.6 | 90 | O5 | 359 | 85774 |  |  |  |  |
| 11 & 6.6 | 125 | O6 | 359 | 85790 |  |  |  |  |
| 6.6 | 140 | O7 | 359 | 85758 |  |  |  |  |
| 6.6 | 160 | - | 359 | 85766 |  |  |  |  |

schedule b

tag type hv fuse-links for use in air

(to BS EN 60282-1 and ENA TS 12-8)

| System Voltage (kV) | Current Rating (A) | ENA TS 12-8 Rating Ref | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 11 & 6.6 | 20 | A1 | 82716 |  |  |  |  |
| 11 & 6.6 | 32 | A2 | 83569 |  |  |  |  |
| 11 & 6.6 | 50 | A3 | 83704 |  |  |  |  |
| 11 & 6.6 | 71 | A4 | 85294 |  |  |  |  |

schedule c

lv “J” type cylindrical slotted tag fuse-links

| Fuse Centre | Current Rating (A) | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- |
| 76mm | 100 | 60674 |  |  |  |  |
| 76mm | 160 | 87718 |  |  |  |  |
| 76mm | 200 | 88439 |  |  |  |  |
| 76mm | 250 | 89494 |  |  |  |  |
| 82mm | 100 | 85898 |  |  |  |  |
| 82mm | 160 | 60682 |  |  |  |  |
| 82mm | 200 | 60690 |  |  |  |  |
| 82mm | 250 | 98353 |  |  |  |  |
| 82mm | 315 | 60593 |  |  |  |  |
| 82mm | 400 | 60569 |  |  |  |  |
| 92mm | 100 | 85901 |  |  |  |  |
| 92mm | 160 | 88188 |  |  |  |  |
| 92mm | 200 | 60704 |  |  |  |  |
| 92mm | 250 | 89591 |  |  |  |  |
| 92mm | 315 | 60577 |  |  |  |  |
| 92mm | 355 | 85944 |  |  |  |  |
| 92mm | 400 | 91219 |  |  |  |  |
| 92mm | 500 | 92215 |  |  |  |  |
| 92mm | 600 | 93149 |  |  |  |  |

schedule d

domestic service termination fuse-links

(to BS 1361)

| End Cap Diameter (mm) | Current Rating (A) | BS 1361 Type Reference | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 22.23 | 40 | IIa |  |  |  |  |  |
| 22.23 | 50 | IIa |  |  |  |  |  |
| 22.23 | 60 | IIa | 60623 |  |  |  |  |
| 22.23 | 80 | IIa | 60631 |  |  |  |  |
| 30.16 | 40 | IIb |  |  |  |  |  |
| 30.16 | 50 | IIb |  |  |  |  |  |
| 30.16 | 60 | IIb | 84336 |  |  |  |  |
| 30.16 | 80 | IIb | 60658 |  |  |  |  |
| 30.16 | 100 | IIb | 60666 |  |  |  |  |

schedule E

HRC fuse-links for street lighting services

(to BS EN 60269-1 & BS 7654)

| Centre (mm) | Rating (A) | Description | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 38 | 6 | Offset tags with 1 axial and 1 lateral slot | 81302 |  |  |  |  |
| 38 | 16 | Offset tags with 1 axial and 1 lateral slot | 60615 |  |  |  |  |
| 38 | 25 | Offset tags with 1 axial and 1 lateral slot | 82708 |  |  |  |  |

schedule f

industrial (415V) 2 hole offset tag fuse-link

(to IEC 60269-2-1)

| Type | Rating(A) | Description | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A4 | 100 | 94mm centre | 85847 |  |  |  |  |

schedule g

industrial (415V) 2 hole central tag fuse-link

(to IEC 60269-2-1)

| Type | Rating (A) | Description | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| B2 | 200 | 111mm centre | 88240 |  |  |  |  |
| B3 | 315 | 111mm centre | 90026 |  |  |  |  |
| B4 | 400 | 111mm centre | 91588 |  |  |  |  |

schedule h

lv central tag fuse-link with 4 hole fixings

(to IEC 60269-2-1)

| Type | Rating (A) | Description | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| C1 | 400 | 133mm & 184mm centres, 51mm barrel width | 91480 |  |  |  |  |
| C2 | 630 | 133mm & 184mm centres, 61mm barrel width | 93068 |  |  |  |  |

schedule i

industrial (415V) compact fuse-links with offset blade tag

(to BS 88-2)

| Fuse Type | Current Rating (A) | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- |
| F1 | 6 | 81132 |  |  |  |  |
| F1 | 10 | 81604 |  |  |  |  |
| F1 | 16 | 82279 |  |  |  |  |
| F1 | 20 | 82503 |  |  |  |  |

schedule j

hv expulsion fuse-links

(to BS 2692-2, ANSI C37-42 & ENA TS 41-36)

| Current Rating (A) | Fuse Type | System Voltage (kV) | Length (mm) | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 20 | Quick blow, Universal | 6.6, 11 | 533 | 96938 |  |  |  |  |
| 25 | Quick blow, Universal | 6.6, 11 | 533 | 96865 |  |  |  |  |
| 30 | Quick blow, Universal | 6.6, 11 | 533 | 97225 |  |  |  |  |
| 40 | Quick blow, Universal | 6.6, 11 | 533 | 97233 |  |  |  |  |
| 65 | Quick blow, Universal | 6.6, 11 | 533 | 98302 |  |  |  |  |
| 75 | Quick blow, Universal | 6.6, 11 | 533 | 96881 |  |  |  |  |
| 25 | Slow blow, Universal | 6.6, 11 | 533 | 96849 |  |  |  |  |
| 30 | Slow blow, Universal | 6.6, 11 | 533 | 97438 |  |  |  |  |
| 40 | Slow blow, Universal | 6.6, 11 | 533 | 97551 |  |  |  |  |
| 100 | Slow blow, Universal | 6.6, 11 | 533 | - |  |  |  |  |
| 20 | Quick blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 25 | Quick blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 30 | Quick blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 40 | Quick blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 65 | Quick blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 75 | Quick blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 25 | Slow blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 30 | Slow blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 40 | Slow blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |
| 100 | Slow blow, removable button head | 6.6, 11 | 533 | - |  |  |  |  |

schedule k

HV DIN type full range fuse-links

(to BS EN 60282-1 and DIN 43625)

| System Rating (kV) | Current Rating (A) | Length (mm) | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 11 | 10 | 292 | 82800 |  |  |  |  |
| 11 | 16 | 292 | 82810 |  |  |  |  |
| 11 | 20 | 292 | 82820 |  |  |  |  |
| 11 | 31.5 | 292 | 82830 |  |  |  |  |

schedule l

Time fuse-links

(to ENA TS 12-6)

| Current Rating (A) | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- |
| 3 | 81958 |  |  |  |  |
| 5 | 81959 |  |  |  |  |
| 7.5 | 81396 |  |  |  |  |
| 10 | 81590 |  |  |  |  |
| 12.5 | 81833 |  |  |  |  |
| 15 | 81957 |  |  |  |  |

schedule M

Automatic Sectionalising Links

(to ENA TS 41-36)

| Current Rating (A) | No of Shots | System Voltage (kV) | Mounting | Electricity North West Commodity Code | Estimated Annual Usage | Manufacturer’s Reference | Price Each (£) | Total Price (£) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25 | 2 | 6.6, 11 | J&P | 324143 |  |  |  |  |
| 25 | 2 | 6.6, 11 | MLE | 324144 |  |  |  |  |
| 25 | 2 | 6.6, 11 | Universal | 324145 |  |  |  |  |
| 63 | 2 | 6.6, 11 | J&P | 324146 |  |  |  |  |
| 63 | 2 | 6.6, 11 | MLE | 324147 |  |  |  |  |
| 63 | 2 | 6.6, 11 | Universal | 324148 |  |  |  |  |
| 100 | 2 | 6.6, 11 | J&P | 324149 |  |  |  |  |
| 100 | 2 | 6.6, 11 | MLE | 324150 |  |  |  |  |
| 100 | 2 | 6.6, 11 | Universal | 324221 |  |  |  |  |
| 200 | 2 | 6.6, 11 | J&P | 324222 |  |  |  |  |
| 200 | 2 | 6.6, 11 | MLE | 324224 |  |  |  |  |
| 200 | 2 | 6.6, 11 | Universal | 324225 |  |  |  |  |
| Replacement Chemical Actuator |  |  |  |  |  |  |  |  |

Appendix B

SELF CERTIFICATION CONFORMANCE DECLARATION

SECTION BY SECTION CONFORMANCE WITH SPECIFICATION

The manufacturer shall declare conformance or otherwise, section by section, using the following levels of conformance declaration codes.

Conformance declaration codes

| N/A = | Section is not applicable/appropriate to the product/service |
| --- | --- |
| C1 = | The product/service conforms fully with the requirements of this section |
| C2 = | The product/service conforms partially with the requirements of this section |
| C3 = | The product/service does not conform to the requirements of this section |
| C4 = | The product/service does not currently conform to the requirements of this section, but the manufacturer proposes to modify and test the product in order to conform. |

| Manufacturer: |  |
| --- | --- |
| Product/Service Description: |  |
| Product /Service Reference : |  |

Assessor

| Name: | Company: | Signature: | Date: |
| --- | --- | --- | --- |

| Section | Requirement | Conformance Code | Remarks (Must be completed if Conformance Code is not C1) |
| --- | --- | --- | --- |
| 4.1 | Equipment Standards |  |  |
| 4.2 | Regulatory Requirements |  |  |
| 4.3 | Equipment Description |  |  |
| 4.4 | Proof of Performance |  |  |
| 4.5 | Departures from Specification |  |  |
| 4.6 | Markings |  |  |
| 5.1 | Product not to be changed |  |  |
| 5.2 | Electricity North West Technical Approval |  |  |
| 5.3 | Quality Assurance |  |  |
| 5.4 | Formulation |  |  |
| 5.5 | Identification Marking |  |  |
| 5.6 | Products already Approved |  |  |
| 5.7 | Product Conformity |  |  |
| 6 | Requirements for Type and Routine Testing |  |  |
| 7.1 | HV HRC Fuse-links |  |  |
| 7.2 | LV Fuse-Links (Distribution Network) |  |  |
| 7.3 | LV Fuse-Links (Domestic and Similar Premises) |  |  |
| 7.4 | LV Fuse-Links (Street Lighting Services) |  |  |
| 7.5 | LV Fuse-Links (Industrial Premises) |  |  |
| 7.6 | HV Expulsion Fuse-Links |  |  |
| 7.7 | HV DIN Type Full Range Fuse-Links |  |  |
| 7.8 | Time Fuse-Links |  |  |
| 7.9 | Automatic Sectionalising Links |  |  |
| 8 | Protection, Packaging and Delivery |  |  |
| Schedule A | HV Fuse-Links for Use in Oil |  |  |
| Schedule B | Tag Type HV Fuse-Links for Use in Air |  |  |
| Schedule C | LV “J” type Cylindrical Slotted Tag Fuse-Links |  |  |
| Schedule D | Domestic Service Termination Fuse-Links |  |  |
| Schedule E | HRC Fuse-Links for Street Lighting Services |  |  |
| Schedule F | Industrial (415V) 2 Hole Offset Tag Fuse-Link |  |  |
| Schedule G | Industrial (415V) 2 Hole Central Tag Fuse-Link |  |  |
| Schedule H | LV Central Tag Fuse-Link with 4 Hole Fixings |  |  |
| Schedule I | Industrial (415V) Compact Fuse-Links with Offset Blade Tag |  |  |
| Schedule J | HV Expulsion Fuse-Links |  |  |
| Schedule K | HV DIN Type Full Range Fuse-Links |  |  |
| Schedule L | Time Fuse-Links |  |  |
| Schedule M | Automatic Sectionalising Links |  |  |

Additional Notes: