appendix a

SCHEDULES OF INFORMATION

Schedule A – Ratings

Schedule B – List of Variations from the Specification

Schedule C – Recommended Tools and Spare Parts

Schedule D – General Particulars of Definite Work

Schedule A - Ratings

Schedule A1 – Current Transformers - to be completed by Tenderer for each type

| 1. | METERING - CIRCUIT Highest equipment voltage Insulation level Frequency Rated continuous primary thermal current Rated primary/secondary currents Rated output Class of accuracy Rated accuracy limit factor Short time current and duration Rated primary current Nominal turns ratio Knee point emf Vk Maximum secondary winding resistance at 75° C Exciting current at Vk/2 | kV kV Hz A A VA A s A V  V |  |
| --- | --- | --- | --- |
| 2. | METERING - CIRCUIT Highest equipment voltage Insulation level Frequency Rated continuous primary thermal current Rated primary/secondary currents Rated output Class of accuracy Rated accuracy limit factor Short time current and duration Rated primary current Nominal turns ratio Knee point emf Vk Maximum secondary winding resistance at 75° C Exciting current at Vk/2 | kV kV Hz A A VA A s A V  V |  |
| 3. | METERING - CIRCUIT Highest equipment voltage Insulation level Frequency Rated continuous primary thermal current Rated primary/secondary currents Rated output Class of accuracy Rated accuracy limit factor Short time current and duration Rated primary current Nominal turns ratio Knee point emf Vk Maximum secondary winding resistance at 75° C Exciting current at Vk/2 | kV kV Hz A A VA A s A V  V |  |

Schedule A2 - Voltage transformers (to be completed by Tenderer)

| 1. For protection & instrumentation For metering 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. 12. 13. | Type (reference of voltage transformer) Method of transformation (winding configuration) Transformation ratio Rated output per phase Class of accuracy Rated output per phase Class of accuracy Voltage factor Rated time Electrostatic capacity of each capacitor, line to earth Insulating medium Total volume of insulating medium, per single phase unit Weight of complete unit ready for service | VA VA s pF litre kg |  |
| --- | --- | --- | --- |

Schedule B - List of variations from the specification

| No. of Clause | Details of item not in accordance with the Specification |
| --- | --- |

Name of Tenderer

Note: Additional sheets may be inserted as required

Schedule C – Tools and Spare Parts

i) List of tools recommended for use with each installation

| DESCRIPTION | PRICE EACH £ | TOTAL PRICE £ |
| --- | --- | --- |

ii) Recommended spare parts, to be ordered at the discretion of the company

| DESCRIPTION | PRICE EACH £ | TOTAL PRICE £ |
| --- | --- | --- |

Schedule D – GENERAL PARTICULARS OF DEFINITE WORK

(Relevant details to be completed by Purchaser)

| Item | Description |  |
| --- | --- | --- |
| 1 | Site Name |  |
| 2 | Site Grid Reference |  |
| 3 | Number of Units |  |
| 4 | Rating (Amps) |  |
| 5 | Colour of Bushings / Insulators |  |
| 6 | CT Ratios |  |
| 7 | Order of CTs |  |
| 8 | Creepage Distance | 25mm/kV / 31mm/kV * |
| 9 | Short Circuit Current and Duration |  |
| 10 | Thermal Current Rating |  |

* delete as appropriate

Appendix B

SELF-CERTIFICATION CONFORMANCE DECLARATION

CLAUSE BY CLAUSE CONFORMANCE WITH SPECIFICATION

The manufacturer shall declare conformance or otherwise, clause by clause, using the following levels of conformance declaration codes.

Conformance declaration codes

| N/A = | Clause is not applicable/appropriate to the product/service |
| --- | --- |
| C1 = | The product/service conforms fully with the requirements of this clause |
| C2 = | The product/service conforms partially with the requirements of this clause |
| C3 = | The product/service does not conform to the requirements of this clause |
| C4 = | The product/service does not currently conform to the requirements of this clause, but the manufacturer proposes to modify and test the product in order to conform. |

| Manufacturer: |  |
| --- | --- |
| Product/Service Description |  |
| Product /Service Reference : |  |

Assessor

| Name: | Company | Signature | Date |
| --- | --- | --- | --- |

| Clause / Sub-clause |  | Requirement | Conformance Code | Remarks (Must be completed if Conformance Code is not Cs1) |
| --- | --- | --- | --- | --- |
| 3 | 1 | Product not to be changed |  |  |
| 3 | 2 | Electricity North West Technical Approval |  |  |
| 3 | 3 | Quality Assurance |  |  |
| 3 | 4 | Formulation |  |  |
| 3 | 5 | Identification Markings |  |  |
| 3 | 6 | Minimum Life Expectancy |  |  |
| 3 | 7 | Manufacturers already approved |  |  |
| 3 | 8 | Product conformity |  |  |
| 4 | 1 | Requirement for type tests at the Suppliers’ premises |  |  |
| 4 | 2 | Requirement for routine tests at the Suppliers’ premises |  |  |
| 5 |  | Technical and Performance Requirements |  |  |
| 5 | 1 | Voltage Transformer Winding Characteristics |  |  |
| 5 | 2 | Current Transformers Winding Characteristics |  |  |
| 5 | 3 | Bushings |  |  |
| 5 | 4 | 132kV System Characteristics |  |  |
| 5 | 5 | Multicore cables and Fuse boxes |  |  |
| 5 | 6 | Environment, operating conditions and duty |  |  |
| 5 | 7 | Metalwork & Finish Colour |  |  |
| 5 | 8 | Oil Sampling and Indication |  |  |
| 5 | 9 | Special Tools |  |  |
| 5 | 10 | Support Structure |  |  |
| 5 | 11 | HV Terminals |  |  |
| 5 | 12.1 | Ferruling |  |  |
| 5 | 12.2 | Terminals and Terminal Blocks |  |  |
| 5 | 12.3 | Internal Wiring |  |  |
| 5 | 12.4 | External Wiring |  |  |
| 5 | 12.5 | CT Marshalling |  |  |
| 6 |  | Erection and Site Assembly |  |  |
| 7 |  | Drawings |  |  |
| 8 |  | Installation, Operation and Maintenance Manuals |  |  |
| 9 |  | Conformance with Specification |  |  |
| Schedule A |  | Ratings |  |  |
| Schedule B |  | List of Variations from the Specification |  |  |
| Schedule C |  | Tools and Spare Parts |  |  |

Additional Notes: