LV Link Pillar Template

Project Ref:

Post Code:

Name of IDNO -

Name of ICP -

Name of Connection -

Clause 3.2.3 (page 6) - Site Specific Conditions/Additional Clauses to be added

Interconnection between this Point of Supply and any other Point of Supply shall not be permitted, irrespective of whether any interconnection is intended to be permanent or temporary.

Schedule 1 Para. 4 (page12) - Supply Details

|  |  |
| --- | --- |
| Name(s) of feeding substation |  |
| Substation ref. no(s) |  |
| Maximum Import Capacity |  kVA |
| Maximum Export Capacity |  kVA |

Schedule 1 Para. 4 (page12) - Additional Information

|  |  |
| --- | --- |
| Earth Loop Impedance at the operational boundary |  ohms |
| % volt drop at the operational boundary |  % |
| Source Transformer rating |  kVA |
|  Rating or relay setting upstream protective device |  amps |

Schedule 3 Para. 3.3 (page15) - Easement for Cable Routes

Insert project-specific plan here.

Schedule 3 Para. 9.1 (page 19) - Land Rights

Add in any relevant clauses relating to Land Rights specific to this BCA.

The footpath and carriageway within which the Electricity North West asset is installed is adopted by the local authority

The footpath and carriageway external to the developer boundary within which the Electricity North West asset is installed is adopted by the local authority

Schedule 4 (page 20) - Generation

Rating details of any connected generation equipment

None

Schedule 6 – Unmetered Connections

Not applicable